# ANNEX II + III :	 TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

# Contract title: Supporting Data Management			p 1 /…

Publication reference: EuropeAid/133752/C/SUP/BA

Column 1-2 should be completed by the Contracting Authority

Column 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the Contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the Contracting Authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words “compliant” or “yes” are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

LOT 1: IT devices and equipment including off-the-shelf software and licences

The purpose of this tender is to enhance the existing system of electronic data exchange related to law enforcement bodies and prosecutor’s offices that facilitate more efficient work and better co-operation between law enforcement bodies and prosecutor’s offices as one of the objectives set forth in the Road Map for accession to the EU and conditions for facilitation of a visa regime with the member countries of the Schengen Agreement. Beneficiaries are: BiH Directorate for Coordination of Police Agencies (DPC), BiH Border Police (BiH BP), State Agency for Investigation and Protection (SIPA), Federation Police Administration (FPA), RS Ministry of the Interior (RSMoI), BiH District Brcko Police Administration (DCBPA) and Service for Foreigners’ Affairs (SPS).

In particular, the upgrade of the current electronic data exchange system at DPC’s infrastructure should be done in accordance with the Scheme on the left. Existing equipment is marked in bold (FW A, FW B, Server A, Server B, Storage A) and all the other equipment specified in detail in LOT 1 (Router A (item 1.19), Router B (item 1.19), SW A (item 1.18), SW B (item 1.18), SW C (item 1.18), SW D (item 1.18), Load Balancer A (item 1.14), Load Balancer B (item 1.14), Storage B (item 1.9), Backup system (item 1.6, 1.11 and 1.23)) is to be procured, installed, configured and made operational. According to the Scheme, the system upgrade includes:

- increasing the exiting capacity of the storage,

- installing and configuring cluster service and load balancing service,

- installing and configuring a backup link and,

- installing and configuring a backup system for virtual platform, all services and servers.

The Contractor needs to deliver all specified equipment and on-the-shelf software (as per detailed specifications below), install, configure, integrate all new components with the existing DPC’s infrastructure, test and made operational the whole system as per the Scheme.

The Contractor needs to document the implemented system through system, user and technical documents. All documentation should be available in digital format and written in one of the official languages used in Bosnia and Herzegovina.

The contractor needs to provide training for the IT administrators and staff that should include “on site” training for administrators engaging them during the whole system installation and configuration.

Further, for FPA, the upgrade of the current electronic data exchange system at FPA’s infrastructure will consist of the purchase of the two database servers (item 1.1.) and two application servers (item 1.3.), where one database server and one application server will be installed and configured at NOC1 and the other database server and application server will be installed and configured at NOC2, as a disaster recovery backup site. The system upgrade therefore includes the following:

- install and configure server hardware components,

- install operating system and setup server partitions (licenses are provided by the beneficiary),

- configure servers, install virtual machines on the new servers at NOC1 and NOC2,

- install Oracle Database 11.2 on each database server (licenses are provided by the beneficiary),

- install Oracle Application Server WLS SUIT on each application server (licenses are provided by the beneficiary),

- perform migration of the existing databases, applications and search records to the new servers,

- create a synchronized replicas (standby databases) at NOC2 of a production databases (primary databases) at NOC1 and establish their management, monitoring and maintenance,

- set up disaster recovery backup system of NOC1 at NOC2,

- set up back up and recovery procedures and document them.

The Contractor needs to deliver all specified equipment and on-the-shelf software (as per detailed specifications below), install, configure, integrate all new components with the existing FPA’s infrastructure, test and made operational the whole system.

The Contractor needs to document the implemented system through system, user and technical documents. All documentation should be available in digital format and written in one of the official languages used in Bosnia and Herzegovina.

The contractor needs to provide training for the IT administrators and staff that should include “on site” training for administrators engaging them during the whole system installation and configuration.

For all other agencies, the Contractor needs to deliver all specified equipment and on-the-shelf software (as per detailed specifications below), install, configure, integrate all new components with the existing Beneficiaries’ infrastructure, test and made operational the whole system. The contractor needs to provide training for the IT administrators and staff that should include “on site” training for administrators engaging them during the whole system installation and configuration. The Contractor also needs to document the implemented parts of the system through system, user and technical documents. All documentation should be available in digital format and written in one of the official languages used in Bosnia and Herzegovina.

| 1. Item Number | 2. Specifications Required | 3. Specifications Offered | 4. Notes, remarks, ref to documentation | 5. Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 1.1 QTY: 5 pcs | Server: Rack mount server Processor: 2 multi-socket-capable x64 processors multiple core (10 minimum) at least 2.4GHz CPU clock on 1.33GHZ or faster memory access with minimum 24 MB cache Memory: 128GB or more compatible RAM HDD: Minimum 9,6TB SAS 6G 10K HDD Controllers: RAID controller(s) supporting RAID 0,1,5,6 Connectivity: · Min four 10/100/1000 ports; · Min one 10/100 management port; · Support for iSCSI; · Min dual port FiberChannel 4Gbps HBA; · Min dual port 10GbE FiberChannel over Ethernet (FCoE) CAN Optical drive: Slim SATA DVD ROM Optical Drive Remote management: Embedded server management technology Power supply and fans: Full redundancy Ports and expansion: · Video, USB 2.0 ports and serial console port(s) · At least 2 PCIe Gen 2.0 slots available Installation and configuration with testing: Full installation and configuration with testing Warranty: Minimum: 1-Year Parts, 1-Year Labor, 1-Year Onsite support, maximum response time 1 business day, maximum time for repair 3 business days Commercial warranty: 3 years |  |  |  |
| 1.2 QTY: 2 pcs | Server: Rack mount server Processor: 4 multi-socket-capable x64 processors multiple core (8 minimum) at least 2.0GHz CPU clock on 1.33GHZ or faster memory access with minimum 18MB cache Memory: 128GB or more compatible RAM HDD: Minimum 8x300GB SAS 6G 15K HDD Controllers: RAID controller(s) supporting RAID 0,1,5,6 Connectivity: · Min four 10/100/1000 ports; · Min one 10/100 management port; · Support for iSCSI; Optical drive: Slim SATA DVD ROM Optical Drive Remote management: Embedded server management technology Power supply and fans: Full redundancy Ports and expansion: · Video, USB 2.0 ports and serial console port(s) · At least 2 PCIe Gen 2.0 slots available Installation and configuration with testing: Full installation and configuration with testing Warranty: Minimum: 1-Year Parts, 1-Year Labour, 1-Year Onsite support, maximum response time 1 business day, maximum time for repair 3 business days Commercial warranty: 3 years |  |  |  |
| 1.3 QTY: 2 pcs | Server: Rack mount server Processor: 2 multi-socket-capable x64 multiple core (8 minimum) at least 2.0GHz CPU clock on 1.33GHZ or faster memory access, with minimum 20MB cache Memory: 64GB or more compatible RAM HDD: Minimum 2,4TB SAS 6G 15K HDD Controllers: RAID controller(s) supporting RAID 0,1,5,6 Connectivity: · Min four 10/100/1000 ports; · Min one 10/100 management port; · Support for iSCSI; · Min dual port FiberChannel 4Gbps HBA; · Min dual port 10GbE FiberChannel over Ethernet (FCoE) CAN Optical drive: Slim SATA DVD ROM Optical Drive Remote management: Embedded server management technology Power supply and fans: Full redundancy Ports and expansion: · Video, USB 2.0 ports and serial console port(s) · At least 2 PCIe Gen 2.0 slots available Installation and configuration with testing: Full installation and configuration with testing Warranty: Minimum: 1-Year Parts, 1-Year Labour, 1-Year Onsite support, maximum response time 1 business day, maximum time for repair 3 business days Commercial warranty: 3 years |  |  |  |
| 1.4 QTY: 2 pcs | Server: Rack mount server Processor: 2 multi-socket-capable x64 processors multiple core (6 minimum) at least 2.0GHz CPU clock on 1.33GHZ or faster memory access, with minimum 24MB cache Memory: 16GB or more compatible RAM HDD: Minimum 1,8TB SAS 6G 15K HDD Controllers: RAID controller(s) supporting RAID 0,1,5,6 Connectivity: · Min four 10/100/1000 ports; · Min one 10/100 management port; · Support for iSCSI; · Min dual port FiberChannel 8Gbps HBA; · Min dual port 10GbE FiberChannel over Ethernet (FCoE) CAN · HBA: 6Gb SAS HBA Optical drive: Slim SATA DVD ROM Optical Drive Remote management: Embedded server management technology Power supply and fans: Full redundancy Ports and expansion: · Video, USB 2.0 ports and serial console port(s) · At least 2 PCIe Gen 2.0 slots available Installation and configuration with testing: Full installation and configuration with testing Warranty: Minimum: 1-Year Parts, 1-Year Labour, 1-Year Onsite support, maximum response time 1 business day, maximum time for repair 3 business days Commercial warranty: 3 years |  |  |  |
| 1.5 QTY: 2 pcs | Server: Rack mount server Processor: 2 multi-socket-capable x64 processors multiple core (10 minimum) at least 2.4GHz CPU clock on 1.33GHZ or faster memory access with minimum 24 MB cache Memory: 128GB or more compatible RAM HDD: Minimum 9,6TB SAS 6G 10K HDD Controllers: RAID controller(s) supporting RAID 0,1,5,6 Connectivity: · Min four 10/100/1000 ports; · Min one 10/100 management port; · Support for iSCSI; · Min dual port FiberChannel 4Gbps HBA; · Min dual port 10GbE FiberChannel over Ethernet (FCoE) CAN Optical drive: Slim SATA DVD ROM Optical Drive Remote management: Embedded server management technology Power supply and fans: Full redundancy Ports and expansion: · Video, USB 2.0 ports and serial console port(s) · At least 2 PCIe Gen 2.0 slots available OS: MS Windows Server 2008 R2 Enterprise Edition 64-bits or equivalent Installation and configuration with testing: Full installation and configuration with testing Warranty: Minimum: 1-Year Parts, 1-Year Labour, 1-Year Onsite support, maximum response time 1 business day, maximum time for repair 3 business days Commercial warranty: 3 years |  |  |  |
| 1.6 QTY: 1 pcs | Server: Rack mount server Processor: 2 multi-socket-capable x64 processors multiple core (6 minimum) at least 2.0GHz CPU clock on 1.33GHZ or faster memory access, with minimum 24MB cache Memory: 16GB or more compatible RAM HDD: Minimum 1,8TB SAS 6G 15K HDD Controllers: RAID controller(s) supporting RAID 0,1,5,6 Connectivity: · Min four 10/100/1000 ports; · Min one 10/100 management port; · Support for iSCSI; · Min dual port FiberChannel 8Gbps HBA; · Min dual port 10GbE FiberChannel over Ethernet (FCoE) CAN · HBA: 6Gb SAS HBA Optical drive: Slim SATA DVD ROM Optical Drive Remote management: Embedded server management technology Power supply and fans: Full redundancy Ports and expansion: · Video, USB 2.0 ports and serial console port(s) · At least 2 PCIe Gen 2.0 slots available OS: MS Windows Server Standard Edition 2012 64-bits or equivalent Installation and configuration with testing: Full installation and configuration with testing Warranty: Minimum: 1-Year Parts, 1-Year Labour, 1-Year Onsite support, maximum response time 1 business day, maximum time for repair 3 business days Commercial warranty: 3 years |  |  |  |
| 1.7 QTY: 879 pcs | Personal Computer Processor: x64 processor with minimum two cores, Passmark CPU Mark 3700 or higher Memory: 4 GB PC3-10600 DDR3 SDRAM 1333MHz (1 DIMM) or more compatible RAM, minimum 3 memory slots free, 16GB DDR3 HDD: 320GB at least 8MB Cache, Serial ATA II, 7200rpm 3,5“ Expansion: 1xPCI-e 2.0x16, 2xPCI 2.0x1, Interfaces: Min. 4 x USB2.0 Networking: Ethernet 10/100/1000 Optical drive: DVD±RWDL included SATA, 5,25“ Graphics card: HD Graphics features, HDCP, DirectX10 Keyboard: Standard BiH/Latin, USB, same manufacturer as computer Mouse: Optical, same manufacturer as computer Audio: HD Audio, integrated speaker Monitor: Min. 19” monitor, preferably of the same manufacture as computer, TFT LCD, 1280 min x 1024 min resolution, Analog and DVI-D, Lift OS: Win7 pro x64 or equivalent Warranty: Minimum one year warranty Commercial warranty: 3 years |  |  |  |
| 1.8 QTY: 40 pcs | Personal Computer Processor: Dual-core processors with HD Graphics at least 1.65 GHz Flash memory: Minimum 8 GB Flash or DOM or equivalent Memory: 4 GB 1600 MHz DDR3 SDRAM Expansion: USB 2.0, Serial port available, DVI-I (DVI-to-VGA adapter included) Networking: Ethernet 10/100/1000 Graphic card: Maximum digital resolution 2560 x 1600, min 512MB graphics memory Wireless: 802.11 a/b/g/n with dual internal antennas Keyboard: Standard BiH/Latin, USB, same manufacturer as computer HD Mouse: Optical, same manufacture as computer Audio: HD Audio, integrated speaker Monitor: Min. 19” monitor, TFT LCD, 1280 min x 1024 min resolution, Analog and DVI-D, Lift, compatible with Monitor Quick Release Mount Miscellaneous: Monitor Quick Release Mount OS: Windows® Embedded Standard 7 with IE 8 or equivalent Warranty: Minimum one year warranty Commercial warranty: 3 years |  |  |  |
| 1.9 QTY: 1 pcs | Storage system Type of storage: External storage system rack-mount Case Rack mount 19" with rails HDD: Total HDD data capacity (after RAID) minimum 5TB delivered with FC disks or SAS disks HDD hot-swapping Type of RAID: RAID capabilities (RAID 1+0) Active-active redundant controllers Interface: SAN with FC and iSCSi Support for SATA and/or FC and/or SAS disks Management: Centralized maintenance console Virtualization supported Unlimited number of hosts supported without additional licenses Unlimited capacity (only limited by architecture itself) Interconnectivity: Interconnected with 2 servers Installation: Full installation and configuration with testing as per above description for system configuration for DPC. Warranty: Minimum: 1-Year Parts, 1-Year Labour, 1-Year Onsite support, maximum response time 1 business day, maximum time for repair 3 business days Commercial warranty: 3 years |  |  |  |
| 1.10 QTY: 1 pcs | Data Tape Capacity: 3TB native capacity Data transfer rate characteristic: up to 253 MB/s native suspended data rate minimum 240 MB/s Full file host rate minimum 360 MB/s Native sustained data rate at least 2GB buffer cache Data Integrity validation Compatibility: Native FC compatibility Acceleration characteristic: Tape data access acceleration Interface: 4Gb native Fibre Channel interface Warranty: Minimum: 1-Year Parts, 1-Year Labour, 1-Year Onsite support, maximum response time 1 business day, maximum time for repair 3 business days Commercial warranty: 3 years |  |  |  |
| 1.11 QTY: 1 pcs | Data Tape Library Loader type: Automatic Loader Backup tape: HH LTO-5 support Management: WEB base management Scanning option: BAR Code reader Magazine type: Removable tape magazine Encryption: DATA Encryption support Characteristic: Tape Cartridge capacity: 9 Tapes Physical Capacity: up to 13,5TB uncompressed DATA Transfer Rate LTO-5: up to 140MBps Installation: Full installation and configuration with testing as per above description for system configuration for DPC. Warranty: Minimum: 1-Year Parts, 1-Year Labour, 1-Year Onsite support, maximum response time 1 business day, maximum time for repair 3 business days Commercial warranty: 3 years |  |  |  |
| 1.12 QTY: 2 pcs | KVM Switch Type of switch: 16-port USB/PS2 Combo KVMP Switch Cables: 16x 3m USB KVM Cable Console Cable Firmware Upgrade Cable Rack assembling tool: Standard Rack Mounting Kit Grounding Wire Power Adapter Installation documents: User Manual Quick Start Guide Warranty: Minimum: 1-Year Parts, 1-Year Labour, 1-Year Onsite support, maximum response time 1 business day, maximum time for repair 3 business days Commercial warranty: 3 years |  |  |  |
| 1.13 QTY: 3 pcs | Rack Mount Monitor Panel type: 1U rack console with 17" widescreen TFT LCD panel HID: Combo interface either PS/2 or USB input to the LCD drawer Keyboard with either touchpad or trackball Mix PS/2, USB & SUN with Multi-Platform switch capability Warranty: Minimum: 1-Year Parts, 1-Year Labour, 1-Year Onsite support, maximum response time 1 business day, maximum time for repair 3 business days Commercial warranty: 3 years |  |  |  |
| 1.14 QTY: 2 pcs | Load Balancer LB Type: Server Load Balancing - Layers 4 and 7 Ports: 4 X GbE ports Management: Intuitive Web User Interface Characteristic: Up to 1000 Virtual and 1000 Real Servers Caching, Compression and IPS High Availability - 99.999% (Hot Standby) IP and Layer 7 Persistence (sticky) Layer 7 Content Switching Server and Application Health Checking SSL Acceleration Ultra-Low Power Consumption VLAN Trunking (802.1Q) Installation: Full installation and configuration with testing as per above description for system configuration for DPC. Warranty: Minimum: 1-Year Parts, 1-Year Labour, 1-Year Onsite support, maximum response time 1 business day, maximum time for repair 3 business days Commercial warranty: 3 years |  |  |  |
| 1.15 QTY: 4 pcs | UPS Enclosure Type: Rack 19" Technology: Online Double Conversion Outputs: Output Power Capacity 4200 Watts / 6000 VA; 230V nominal output voltage; min. 3 output; sine wave waveform, single phase, 50Hz Inputs: 230V Nominal Input Voltage; 230V 50/60Hz (auto sensing); voltage tolerance 181V-270Vac Batteries: Typical recharge time: max 6 hour(s); Control panel: indicators: on-line, on-battery, by pass indicator, load battery Alarms: overload alarm Communication interfaces: DB9 RS232, LAN RJ45 10/100 baseT Network management: Protocols: SNMP, Remote monitoring and controlling by network Web/SNMP Accessories: Support software; Rack Mounting support rails Miscellaneous: Basic instruction guide how to use in local language Installation: Full installation and configuration with testing as per above description for system configuration for DPC. Warranty: Minimum: 1-Year Parts, 1-Year Labour, 1-Year Onsite support, maximum response time 1 business day, maximum time for repair 3 business days Commercial warranty: 3 years |  |  |  |
| 1.16 QTY: 31 pcs | Laptop Keyboard: Spill resistant keyboard Processor: x64 processor with minimum two cores, Passmark CPU Mark 3400 or higher Memory: min. 8GB DDR3 1600MHz SDRAM Hard disk: capacity 500GB, SATA, 7200 rpm. Graphic subsystem: memory 1GB Display: LED; size: 15,6; Resolution min 1600x900 Audio: Built in speakers and microphone Communication interfaces: Ethernet LAN 10/100/1000Mbps; WiFi interface: 802.11 a/b/g/n; Integrated Bluetooth Standard I/O units: 2 or 3 button with scroll wheel optical USB mouse, with pad; Touch Pad with vertical - horizontal scroll functions, and two buttons; Integrated keyboard Bosnian Latin; Optical drive Dual Layer DVD+/-RW Input- output ports: 1x Output for additional display; 1x USB 2.0; 2x USB 3.0; Audio 1x input/1x output; 1 VGA; 1x eSATA/USB; 1x display port; 1x LAN RJ45 Accessories: Power supply (220V AC) with cable; RJ-45 S-FTP Ethernet patch cable (length 3m); Carrying bag Operating system: MS Windows 7 Professional, or equivalent Miscellaneous: Basic instruction guide how to use in local language; Warranty: Minimum one year warranty Commercial warranty: 3 years |  |  |  |
| 1.17 QTY: 4 pcs | Switch 24 port Enclosure Type: Rack Ports: 24 x 10/100/1000; Uplinks: 2x1G SFP (miniGBIC); Up links: 2x1G SFP Performance: Forwarding bandwidth 50Gbps; forwarding rate (64-byte packet size), 38.7 mpps; MAC Address Table Size 8000 entries; Memory, 128 MB; Flash Memory, 64 MB, MTU up to 9198 bytes Encryption Algorithm: SSL Authentication Method: Secure Shell (SSH), RADIUS, TACACS+ Features: Layer 2 switching, Rapid Spanning Tree Protocol (RSTP), Multiple Spanning Tree Protocol (MSTP) support, Link Aggregation Control Protocol (LACP), Port Security, DiffServ support, BOOTP support, DHCP support, Quality of Service (QoS), Auto-sensing per device, Syslog support, Auto-negotiation VLAN: Min VLANs 64, (supports IEEE 802.1q) Management: Console port for management HTTPS, TFTP, Telnet, SNMP 2, SNMP 1, SNMP3, HTTP, SSH-2, SNMP 2c; Power: Power supply - internal; Voltage Required AC 230 V 50 Hz Miscellaneous: Rack Mounting Kit, Basic user instruction guide in local language Installation: Full installation and configuration with testing. Warranty: Minimum: 1-Year Parts, 1-Year Labour, 1-Year Onsite support, maximum response time 1 business day, maximum time for repair 3 business days Commercial warranty: 3 years |  |  |  |
| 1.18 QTY: 4 pcs | Switch 24 port, L3 Enclosure Type: Rack 1 Unit Ports: 24x 10/100/1000 Mbs Management: Console port for management Performance: Switching capacity, 32 Gbps; Forwarding performance, 35,7 million pps; MAC Address Table Size, 12000 entries; Memory, 128 MB; Flash Memory 16 MB Layer 3 routing: Static routing provides manually configured routing; Equal-cost multi-path routing (ECMP); Internet Group Management Protocol (IGMP); Routing Information Protocol (RIP) v1/v2, RIP Routes, 512; IGMP groups and multicast, 1000; Unicast routes, 4000 VLAN: Support standard IEEE 802.1q; Simultaneous VLANs,1000; VLAN Ids, 4000; Jumbo frame support, Automatic learning and dynamic assignment of VLANs Quality of Service: Traffic prioritization (IEEE 802.1p); Layer 4 prioritization; Class of Service (CoS); IPv6 Supported Power: Power Device, hot-swap power supplies; Voltage Required, AC 230 V 50 Hz; Miscellaneous: Rack Mounting Kit, Basic instruction guide how to use in local language Installation: Full installation and configuration with testing as per above description for system configuration for DPC. Warranty: Minimum: 1-Year Parts, 1-Year Labour, 1-Year Onsite support, maximum response time 1 business day, maximum time for repair 3 business days Commercial warranty: 3 years |  |  |  |
| 1.19 QTY: 2 pcs | Router Enclosure Type: Rack Ports: Minimum 3X 10/100/1000 RJ45 Modular ports: Minimum 4x USB ports: Minimum 1x Console port: Minimum 1x Performance: Minimum: Memory 512 MB; Flash Memory 256 MB Protocols: OSPF, IGMP, static IPv4 routing, static IPv6 routing Embedded Hardware Based Cryptography and Acceleration: IPSec + SSL Features: Firewall protection, hardware encryption, VPN support, Syslog support, IPv6 support, Class-Based Queuing Power Device: Dual Redundant Power Supplies, Voltage Required: AC 230 V 50 Hz Rack Mounting Kit Basic user instruction guide in local language Installation: Full installation and configuration with testing as per above description for system configuration for DPC. Warranty: Minimum: 1-Year Parts, 1-Year Labour, 1-Year Onsite support, maximum response time 1 business day, maximum time for repair 3 business days Commercial warranty: 3 years |  |  |  |
| 1.20 QTY: 6 pcs | Firewall Ports: • Min 12 10/100/1000Base-T ports; • Min 2 expansion slot • Serial console port for management • At least 1 USB ports Memory: Min 1 GB DRAM; Min 128 MB Flash memory Power supply: Single AC power supply Performance and features: • Firewall throughput min. 800 Mbps • VPN throughput min. 400 Mbps • Min 128.000 concurrent sessions (connections) • HA (High Availability) • Tunnel interfaces 100 • Support for min 200 IPSec VPN’s • Support for min 200 VLAN’s • IPSec DES/3DES license included • 19” rack mounting kit License: Licence for IDS/IPS Installation and configuration: Full installation and configuration with testing Warranty: Minimum: 1-Year Parts, 1-Year Labour, 1-Year Onsite support, maximum response time 1 business day, maximum time for repair 3 business days Commercial warranty: 3 years |  |  |  |
| 1.21 QTY: 1 pcs | Help Desk Software Type Web-based helpdesk software that helps manage all communications from a single point Support: Trouble Ticketing Incident Management Asset Management Problem Management Change Management Configuration management database (CMDB) Self Service Portal Service level agreements Knowledge Base Needed to be ITIL ready Helpdesk Remote Control AD & LDAP Integration Multi Site Support Support different Types of Change: Standard Change, Minor Change, Major Change Scope: 1000 nodes Installation and configuration: Full installation on one 1.4 Server from this LOT 1 and full configuration with testing Training: 10 x operators, 10 x technical staff on 1st level support, 1x administrator Warranty: Minimum 1-Year Onsite support Miscellaneous: Installed software must include appropriate number of licenses. Commercial warranty: 3 years |  |  |  |
| 1.22 QTY: 1 pcs | Network Monitoring Software Support: Automatic Network Discovery & L2⁄ L3 Mapping Network Monitoring Server Monitoring Customizable Dashboard Event log, Syslog, & SNMP Trap processing Real-time traffic graphs Email Alerts, Web Alarms, Remediation Actions MS Exchange⁄ MSSQL⁄ Active Directory monitoring Virtualization Monitoring Network Traffic Analysis IPSLA-VoIP Monitoring IP Address Management Switch Port Mapping Log File Monitoring Number of devices: 60 Installation and configuration: Full installation on one 1.4 Server from this LOT 1 and full configuration with testing Training: 10 x operators, 10 x technical on 1st level support, 1x administrator Warranty: Minimum: 1-Year Onsite support Miscellaneous: Installed software must include appropriate number of licenses. Commercial warranty: 3 years |  |  |  |
| 1.23 QTY: 1 pcs | Backup Software Single backup application to support either virtual or physical infrastructure with integrated VMware and Hyper-V protection plus supported deduplication Number of Agents: 2 physical (6 cores) with 4 virtual servers each Software must include following capabilities: Virtualization support: Support for physical and virtual environments Support virtual platforms, VMWare, Hyper-V Migration physical into virtual copies, migration physical to virtual, virtual to virtual Backup: Image, files and folders Full, incremental or differential backups Ability to backup to disks, SAN, NAS, tapes Support for multiple backup servers that share a secondary storage device, such as a robotic library in the SAN environment File and block-level deduplication Single-pass backup Backup software must ensure on-line backup of DB2 applications Disaster and Recovery: Bare- metal restore Restore to dissimilar hardware Recovery from disk to disk or tape to disk Recover individual folders or files, disk image Applications recovery Granular application recovery Server recovery Management: Centralised and Remote Management Support for sending alerts via e-mail Capacity: At least backup license for at least 100 GB deduplicated capacity and 10GB expected data increment per year Installation: Full installation and configuration on 1.6 Server from this LOT 1 with testing as per above description for system configuration for DPC. Training: 3 x administrator Warranty: Minimum: 1-Year Onsite support Commercial warranty: 3 years Miscellaneous: Installed software must include appropriate number of licenses. |  |  |  |
| 1.24 QTY: 1 | Implementation at DPC The Contractor needs to deliver all specified equipment and on-the-shelf software, install, configure and integrate all new components with the existing DPC’s infrastructure, test and made operational the whole system as per the detailed explanation above. The Contractor needs to document the implemented system through system, user and technical documents. All documentation should be delivered in digital format and written in one of the official languages used in Bosnia and Herzegovina. The contractor needs to provide training for the IT administrators and staff that should include: “on site” training for administrators engaging them during the whole system installation and configuration, training for usage and maintenance of the implemented system. |  |  |  |
| 1.25 QTY: 1 | Implementation at FPA The Contractor needs to deliver all specified equipment and on-the-shelf software, install, configure and integrate all new components with the existing FPA’s infrastructure, test and made operational the whole system as per the detailed explanation above. The Contractor needs to document the implemented system through system, user and technical documents. All documentation should be delivered in digital format and written in one of the official languages used in Bosnia and Herzegovina. The contractor needs to provide training for the IT administrators and staff that should include: “on site” training for administrators engaging them during the whole system installation and configuration, training for usage and maintenance of the implemented system. |  |  |  |
| 1.26 QTY: 1 | Integral Implementation The Contractor needs to deliver all specified equipment and on-the-shelf software, install, configure and integrate all new components with the existing Beneficiaries’ infrastructure, test and made operational the whole system. The contractor needs to provide training for the IT administrators and staff that should include: “on site” training for administrators engaging them during the whole system installation and configuration, training for usage and maintenance of the implemented system. The Contractor needs to document the implemented parts of the system through system, user and technical documents. All documentation should be available in digital format and written in one of the official languages used in Bosnia and Herzegovina. |  |  |  |

LOT 2: Upgrade of the existing IBM storage DS 3524

| 1. Item Number | 2. Specifications Required | 3. Specifications Offered | 4. Notes, remarks, ref to documentation | 5. Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 2.1 QTY: 2 pcs | Storage Area Network Switch Architecture: Fibre Channel Switch Ports: • Support min 24 SAN SFP ports • Min 8 active and licensed 4Gbps shortwave ports with min. 4Gbps link speed • Support for long distance 4Gbps connections • Interface Fibre Channel min. 4Gbps Power and rack: • Power supply and fans • 19” rack mountable including mounting kit Management: Software upgrades are non-disruptive Cables: 8x5m FC duplex Fibre Channel cables for all active ports FC interfaces: E_Port, F_Port, FL_Port and M_Port Additional components: 8 GBPS SFP Module SW (8-Pack) Installation and configuration: Full installation and configuration with testing Warranty: Minimum: 1-Year Parts, 1-Year Labour, 1-Year Onsite support, maximum response time 1 business day, maximum time for repair 3 business days Commercial warranty: 3 years Miscellaneous: Compatible with the existing storage IBM DS3524 |  |  |  |
| 2.2 QTY: 12 pcs | HDD 600GB 2.5", HS 10K 6GBPS SAS HDD, fully compatible with the existing IBM System Storage DS3524 Installation and configuration: Full installation and configuration with testing Warranty: Minimum: 1-Year Parts, 1-Year Labour, 1-Year Onsite support, maximum response time 1 business day, maximum time for repair 3 business days Commercial warranty: 3 years |  |  |  |

LOT 3: Document reader

| 1. Item Number | 2. Specifications Required | 3. Specifications Offered | 4. Notes, remarks, ref to documentation | 5. Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 3.1 QTY: 30 pcs | Document reader Functions: § Scanning modes: 24-bit RGB colour output, 8-bit grayscale, 1-bit B&W § White Light Scan § IR Scan § UV scan § RFID Contactless Chip Reading incl. Biometrics § Bar Codes Reading: 1D and 2D § ICAO Code Reading § OCR reading from MRZ Applicable Documents: § All Standard Passports § Visas § ID Cards § Travel Cards Scanning area: Minimum up to 135 mm x 100 mm Resolution: 400 ppi (optical) or higher Image sensor: Minimum 3.2 MPixel Scanning Trigger: Optical sensor Interface: USB 2.0 Other features: Fully integrable SDK package and demonstration programs ISO and ICAO standards compliant BAC and EAC support Windows XP, Vista and Windows 7 compatible The surface of scanner image plate must be made of scratch resistant material No influence of day light or bright light on scanning results No moving parts Regulatory Requirements: CE Environmental Requirements: WEEE, RoHS Installation: Full installation and configuration with testing Warranty: Minimum: 1-Year Parts, 1-Year Labour, 1-Year Onsite support Service and maintenance: 1 year, next business day response, on-site coverage, 9x5 Commercial warranty: 3 years |  |  |  |

LOT 4: Software for servers’ virtualization and managing virtual infrastructure

| 1. Item Number | 2. Specifications Required | 3. Specifications Offered | 4. Notes, remarks, ref to documentation | 5. Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 4.1 QTY: 1 pcs | Software for servers virtualization VMware VMware vSphere 5.1 Essentials Plus Kit or equivalent Support: 3 servers with two processors each Centralized management Storage appliance Features: Data Protection High Availability Thin provisioning Update Manager Live migration of a running virtual servers Replication Endpoint Security for Virtual Datacentres Compatibility: Agency is currently using VMware ESXI - free software versions for virtualization and new software for servers virtualization must support seamless migration of already existing virtual servers that are compatible with ESXi VMware virtualized servers. Installation and configuration: Full installation and configuration with testing Warranty: Minimum 1-Year Onsite support Commercial warranty: 3 years Miscellaneous: Installed software must include all needed licences. |  |  |  |
| 4.2 QTY: 1 pcs | Software for managing virtual infrastructure VMware vCenter Server 5 Standard for vSphere 5 or equivalent Features: A Scalable and Extensible Virtualization Management Platform Centralized Control and Visibility Proactive Management - delivers the security and availability Distributed resource optimization Dynamic allocation of resources Energy efficient resource optimization Compatibility: Software for managing virtual infrastructure must be compatible with software for servers’ virtualization offered under item 4.1. Installation and configuration: Full installation and configuration with testing Warranty: Minimum 1-Year Onsite support Commercial warranty: 3 years Miscellaneous: Installed software must include all needed licences. |  |  |  |

Summary Information:

| Item | Type | Institutions for delivery | Total Qty |  |
| --- | --- | --- | --- | --- |
| 1.1 | Server 1 | BiH District Brcko Police Administration | 2 |  |  |
|  |  | Federation Police Administration | 2 |  |  |
|  |  | Service For Foreigners’ Affairs | 1 |  |  |
| 1.2 | Server 2 | BiH Border Police | 2 |  |  |
| 1.3 | Server 3 | Federation Police Administration | 2 |  |  |
| 1.4 | Server 4 | Federation Police Administration | 1 |  |  |
|  |  | State Agency for Investigation and Protection | 1 |  |  |
| 1.5 | Server 5 | RS Ministry of the Interior | 2 |  |  |
| 1.6 | Server 6 | BiH Directorate for Coordination of Police Agencies | 1 |  |  |
| 1.7 | PC 1 | BiH District Brcko Police Administration | 5 |  |  |
|  |  | Federation Police Administration | 442 |  |  |
|  |  | RS Ministry of the Interior | 400 |  |  |
|  |  | State Agency for Investigation and Protection | 20 |  |  |
|  |  | Service For Foreigners’ Affairs | 12 |  |  |
| 1.8 | PC 2 | BiH Border Police | 40 |  |  |
| 1.9 | Storage system | BiH Directorate for Coordination of Police Agencies | 1 |  |  |
| 1.10 | Data Tape | RS Ministry of the Interior | 1 |  |  |
| 1.11 | Data Tape Library | BiH Directorate for Coordination of Police Agencies | 1 |  |  |
| 1.12 | KVM Switch | RS Ministry of the Interior | 2 |  |  |
| 1.13 | Rack Mount Monitor | BiH District Brcko Police Administration | 1 |  |  |
|  |  | RS Ministry of the Interior | 2 |  |  |
| 1.14 | Load Balancer | BiH Directorate for Coordination of Police Agencies | 2 |  |  |
| 1.15 | UPS | BiH Directorate for Coordination of Police Agencies | 2 |  |  |
|  |  | RS Ministry of the Interior | 2 |  |  |
| 1.16 | Laptop | Federation Police Administration | 15 |  |  |
|  |  | RS Ministry of the Interior | 15 |  |  |
|  |  | Service For Foreigners’ Affairs | 1 |  |  |
| 1.17 | Switch 24 port | RS Ministry of the Interior | 4 |  |  |
| 1.18 | Switch 24 port, L3 | BiH Directorate for Coordination of Police Agencies | 4 |  |  |
| 1.19 | Router | BiH Directorate for Coordination of Police Agencies | 2 |  |  |
| 1.20 | Firewall | BiH District Brcko Police Administration | 1 |  |  |
|  |  | RS Ministry of the Interior | 4 |  |  |
|  |  | State Agency for Investigation and Protection | 1 |  |  |
| 1.21 | Help Desk Application | Federation Police Administration | 1 |  |  |
| 1.22 | Monitoring network devices SW | Federation Police Administration | 1 |  |  |
| 1.23 | Backup software | BiH Directorate for Coordination of Police Agencies | 1 |  |  |
| 1.24 | Implementation at DCP | BiH Directorate for Coordination of Police Agencies | 1 |  |  |
| 1.25 | Implementation at FPA | Federation Police Administration | 1 |  |  |
| 1.26 | Integral implementation | All Agencies | 1 |  |  |
| 2.1 | Storage Area Network Switch | State Agency for Investigation and Protection | 2 |  |  |
| 2.2 | HDD | State Agency for Investigation and Protection | 12 |  |  |
| 3.1 | Document reader | BiH Border Police | 30 |  |  |
| 4.1 | Software for servers virtualization | RS Ministry of the Interior | 1 |  |  |
| 4.2 | Software for managing virtual infrastructure | RS Ministry of the Interior | 1 |  |  |

Delivery Locations:

| Institution | Address |
| --- | --- |
| BiH Directorate for Coordination of Police Agencies | Aleja Bosne Srebrene bb, 71 000 Sarajevo, BiH |
| BiH District Brcko Police Administration | Trg Mladih 10, 76101 Brčko, BiH |
| BiH Border Police | Reufa Muhića 2A, 71000 Sarajevo, BiH |
| Cantonal Ministries of the Interior (using FPA as common access point) | Mehmeda Spahe 7, 71000 Sarajevo, BiH For FPA disaster recovery site Mostar and/or Tuzla |
| Federation Police Administration | Mehmeda Spahe 7, 71000 Sarajevo, BiH For disaster recovery site Mostar and/or Tuzla |
| RS Ministry of the Interior | Bulevar Desanke Maksimović 4, 78000 Banja Luka, BiH |
| Service for Foreigners’ Affairs | Pijačna 6/II, 71000 Sarajevo, BiH |
| State Agency for Investigation and Protection | Nikole Tesle bb, 71123 Istočno Sarajevo, BiH |